## Robot Master Mix
Robotic Master Mix and Template Volume Calculator
Please note: The total amount of template and master mix required includes an excess volume necessary because the wells have a small dead volume that the pipet tip cannot reach. Pipette the master mix into one or two columns (8 vertical wells) of a half-skirted Applied Biosystems or equivalent 96 well plate. Samples and master mix may be placed in one plate or in separate plates.
Enter # of samples (include standards and NTC): |  |  | 142 |  |  | # of 384 plate wells required for each sample: |  | 2
Enter # of replicates: |  |  | 2
Enter # of genes: |  |  | 1 |  |  | Template, Standards, NTC
# of 384 plate wells for each gene: |  |  | 284 |  |  |  | Amt/ul | Amt(ul)/Rxn
Reaction volume (ul): |  |  | 10 |  |  | RNA or cDNA Template* | 0.3 | 3
Total # of Wells Used |  |  | 284
[6 empty] | Total amount (ul) of each template required: |  | 16
One Step Sybr Green Reverse Transcriptase Robotic Reaction Mix
| Amt/ul | Amt(ul)/Reaction | Total Amount |  |  | *The recommended template concentration is 1.33ng/ul. This concentration may be varied depending upon the expected level of expression of the genes being tested.
Sybr Green 2X Master Mix | 0.5 | 5 | 1619.1429 | 1619.1429 | 1619.1429
Forward Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971
Reverse Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971
Reverse Transcriptase 40X | 0.025 | 0.25 | 80.9571 | 80.9571 | 80.9571 | Correct Volume for Each Master Mix Well in a 96-well Plate
H2O | 0.055 | 0.55 | 178.1057 | 178.1057 | 178.1057 |  | 17 |  | 3
Total | 0.7 | 7 | 2266.8 | 2266.8 | 2266.8 |  | 6 |  | 0
A 96-well plate will need the following volumes of each master mix in a single column :
[6 empty] | A | 287.2 | 287.2 | 252 | 756 | 841.6 | 1
Sybr Green Two-Step Robotic Reaction Mix | [5 empty] | B | 287.2 | 287.2 | 252 | 756 | 841.6 | 2
| Amt/ul | Amt(ul)/Reaction | Total Amount |  |  | C | 287.2 | 287.2 | 252 | 756 | 841.6 | 3
Sybr Green 2X Master Mix | 0.5 | 5 | 1619.1429 | 1619.1429 | 1619.1429 | D | 287.2 | 287.2 | 252 | 714 | 795.4 | 4
Forward Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971 | E | 287.2 | 287.2 | 252 | 714 | 795.4 | 5
Reverse Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971 | F | 287.2 | 287.2 | 252 | 714 | 795.4 | 6
H2O | 0.08 | 0.8 | 259.0629 | 259.0629 | 259.0629 | G | 271.8 | 271.8 | 238 | 714 | 795.4 | 7
Total | 0.7 | 7 | 2266.8 | 2266.8 | 2266.8 | H | 271.8 | 271.8 | 238 | 714 | 795.4 | 8
[6 empty] | Total Volume | 2266.8 | 2266.8
One Step TaqMan Reverse Transcriptase Robotic Reaction Mix
| Amt/ul | Amt(ul)/Reaction | Total Amount |  |  | Note: If the column volume is too great, the volume may be split equally between two columns.
2X Master Mix | 0.5 | 5 | 1619.1429 | 1619.1429 | 1619.1429
Forward Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971
Reverse Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971
TaqMan Probe 10uM | 0.025 | 0.25 | 80.9571 | 80.9571 | 80.9571
Reverse Transcriptase 40X | 0.025 | 0.25 | 80.9571 | 80.9571 | 80.9571
H2O | 0.03 | 0.3 | 97.1486 | 97.1486 | 97.1486
Total | 0.7 | 7 | 2266.8 | 2266.8 | 2266.8
TaqMan Two-Step Robotic Reaction Mix
| Amt/ul | Amt(ul)/Reaction | Total Amount
2X Master Mix | 0.5 | 5 | 1619.1429 | 1619.1429 | 1619.1429
Forward Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971
Reverse Primer 10 uM | 0.06 | 0.6 | 194.2971 | 194.2971 | 194.2971
TaqMan Probe 10uM | 0.025 | 0.25 | 80.9571 | 80.9571 | 80.9571
H2O | 0.055 | 0.55 | 178.1057 | 178.1057 | 178.1057
Total | 0.7 | 7 | 2266.8 | 2266.8 | 2266.8
TaqMan Assay on Demand Two-Step Robotic Reaction Mix
| Amt/ul | Amt(ul)/Reaction | Total Amount
2X Master Mix | 0.5 | 5 | 1619.1429 | 1619.1429 | 1619.1429
Assay on Demand 20X | 0.05 | 0.5 | 161.9143 | 161.9143 | 161.9143
H2O | 0.15 | 1.5 | 485.7429 | 485.7429 | 485.7429
Total | 0.7 | 7 | 2266.8 | 2266.8 | 2266.8
Note on D4: = # of samples + # of standard dilutions + 1 NTC + # of Controls example: 20 samples + 5 std dilutions +1 NTC + 0 Controls= 26
Note on D5: Enter: 2 for duplicate reactions or 3 for triplicate reactions
Note on D6: How many genes are you testing on this plate?
Note on D7: This amount should not exceed 384. If it does, reduce the number of samples and/or the number of replicates on this plate.
Note on D9: This value should not exceed 384. If it does, you must reduce the number of samples, replicates, and/or genes on the plate.

## TaqMan Master Mix
Note: The amounts of primer and probe noted in these protocols are suggested quantities.Your assay may require optimization of the primers and probe. See "Optimizing Primer and Probe Concentrations" in the TaqMan Universal Master Mix PCR protocol.
TaqMan Universal Master Mix PCR protocol
One-Step TaqMan Master Mix
Reaction Mix
Enter # of wells desired: | 1
Enter reaction volume (ul): | 25
| Amt/ul | Amt(ul)/Reaction | Amt(ul)/# wells*
2X Master Mix | 0.5 | 12.5 | 15
MultiScribe ReverseTranscriptase 40X | 0.025 | 0.625 | 0.75
Forward Primer 10 uM | 0.06 | 1.5 | 1.8
Reverse Primer 10 uM | 0.06 | 1.5 | 1.8
TaqMan Probe 10uM | 0.025 | 0.625 | 0.75
Template 2ng/ul | 0.2 | 5 | 6
H2O | 0.13 | 3.25 | 3.9
Total Volume | 1 | 25 | 30
*Calculation includes 20% overage to compensate for pipetting error.
Two-Step TaqMan Master Mix
Reaction Mix
Enter # of wells desired: | 36
Enter reaction volume (ul): | 25
| Amt/ul | Amt(ul)/Reaction | Amt(ul)/# wells*
2X Master Mix | 0.5 | 12.5 | 540
Forward Primer 10 uM | 0.06 | 1.5 | 64.8
Reverse Primer 10 uM | 0.06 | 1.5 | 64.8
TaqMan Probe 10uM | 0.025 | 0.625 | 27
Template 2ng/ul | 0.2 | 5 | 216
H2O | 0.155 | 3.875 | 167.4
Total Volume | 1 | 25 | 1080
*Calculation includes 20% overage to compensate for pipetting error.
Two-Step Assay on Demand TaqMan Master Mix
Reaction Mix
Enter # of wells desired: | 36
Enter reaction volume (ul): | 25
| Amt/ul | Amt(ul)/Reaction | Amt(ul)/# wells*
2X Master Mix | 0.5 | 12.5 | 540
AOD primer/probe mix 20X | 0.05 | 1.25 | 54
Template 2ng/ul | 0.2 | 5 | 216
H2O | 0.25 | 6.25 | 270
Total Volume | 1 | 25 | 1080
*Calculation includes 20% overage to compensate for pipetting error.

## Sybr Master Mix
One-Step Sybr Green Master Mix
This protocol was authored by Cathryn Stevens with contributions from Susan Newman and Stefany Primeaux. Pennington Biomedical Research Center, Baton Rouge, Louisiana. 2003
Reaction Mix
Enter # of wells desired: | 1
Enter reaction volume (ul): | 25
| Amt/ul | Amt(ul)/Reaction | Amt(ul)/# wells*
Sybr Green 2X Master Mix | 0.5 | 12.5 | 15
MultiScribe Reverse Transcriptase 40X | 0.025 | 0.625 | 0.75
Forward Primer 10 uM | 0.06 | 1.5 | 1.8
Reverse Primer 10 uM | 0.06 | 1.5 | 1.8
Template 2ng/ul | 0.2 | 5 | 6
H2O | 0.155 | 3.875 | 4.65
Total Volume | 1 | 25 | 30
*Calculation includes 20% overage to compensate for pipetting error.
**Applied Biosystems kits #4310179 (Sybr Green RT-PCR Reagents) and #4309155 (Sybr Green PCR Master Mix) contain
amplitaq gold in the Sybr Green PCR Master Mix.
Two-Step Sybr Green Master Mix
Reaction Mix
Enter # of wells desired: | 1
Enter reaction volume (ul): | 25
| Amt/ul | Amt(ul)/Reaction | Amt(ul)/# wells*
Sybr Green 2X Master Mix | 0.5 | 12.5 | 15
Forward Primer 10 uM | 0.06 | 1.5 | 1.8
Reverse Primer 10 uM | 0.06 | 1.5 | 1.8
Template 2ng/ul | 0.2 | 5 | 6
H2O | 0.18 | 4.5 | 5.4
Total Volume | 1 | 25 | 30

## Authorship
Author | Susan S Newman
Pennington Biomedical Research Center
Baton Rouge, LA
Revision Date | 2007-10-12